## BaseInfo (hidden)
DUT |  | Calibration Information
Basic | Indicate | Cal Base Info |  | Cal Institution | Calibration Standard
Type | SensorType | Record No. |  | Name | Name
Name | Range | Cert No. |  | Address | Code
Model | Range Down | Receive Date |  | Contacts | Issue Date
FactoryNo | Range Up | Cal Date |  | Telephone | Material Date
SampleNo | Range Unit | Verify Date |  | Zip Code | Issue Institution
ConsignationNo | Accuracy | Calibration period |  | Fax | Description
Manufacturer | Accuracy Type | Period Type |  | Website
ManufactureDate | Accuracy Type ID | Word of Certificate |  | E-Mail
WorkMedium | %FS Percent | Due To |  | Cal Place
Uncertainty | ASME Grade | Temperature |  | Grant NO.
Extend Uncertainty |  | Temperature Unit
Customer | Custom Accuracy | Humidity |  | ISO No.
Customer Address |  | Humidity Unit
Installation Location | Resolution | Atmosphere |  | Lab No.
Atmosphere Unit
Reserve 1st | StopIn | Cal Result |  | Remark
Reserve 2nd |  | Calibrator
Reference
Original Accuracy |  | Verifier
Device Name
Remark |  | Approver
Device No.
Calibration Remark
Manufacturer
Install Date
Model
Install Person
Certificate No.
Certificate Remark
Due Date
Build Cert Date
Manufacturer Date
|  | Temperature（with Unit） | ℃
|  | Humidity（with Unit） | %RH |  | Pressure Range
Atmosphere（with Unit）
Pressure Accuracy
Pressure Uncertainty
Device Uncertainty
Device Extend Uncertainty
Device Asset No.
Device Cal Date
|  | Fee |  |  | Remark
Restricted Condition
Multimeter Measurement
Multimeter Source
Multimeter Other
PressureController_Range
PressureController_ControlVolatility
PressureController_Other
Customer | Calibration Profile
Name | Cycles Number
Address
Contacts
Telephone
Web Site
Fax
E-mail
Zip Code
Remark
Print Date
0
Cal Date
0
Expiration Date
0
Ref Due date
0

## Certificate
Certificate No: |  |  |  | 0 | [8 empty] | Certificate of Calibration | [7 empty] | Print Date: |  | 0 |  | 0
PRESSURE GAUGE
| Serial Number | [7 empty] | 0 |  |  |  |  | Calibration Date: | [10 empty] | 0
| Model: | [6 empty] | 0 | [5 empty] | Recommended Next Cal Date: | [10 empty] | 0
| Range: | [7 empty] | 0 |  |  |  |  | Manufacturer: | [10 empty] | 0
| Resolution: | [7 empty] | 0 |  |  |  |  | Customer: | [10 empty] | 0
| Application Site: | [7 empty] | 0 |  |  |  |  | SUSA PO: | [10 empty] | 0
| Accuracy: | [7 empty] | 0 |  |  |  |  | SBG SO: | [10 empty] | 0
Calibration Results
[5 empty] | Result |  |  |  |  | Max Error |  |  |  |  | Temperature |  |  |  | Humidity |  |  |  |  | Atmospheric pressure
| As Found | [13 empty] | ℃ |  |  |  | %RH
| As Left | [13 empty] | ℃ |  |  |  | %RH
References
Name | [6 empty] | Model |  |  |  | Serial Number |  |  |  | Cetificate No. |  |  |  |  | Due Date |  |  |  |  | Accuracy
0 | [6 empty] | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  | Laboratory Representative | [13 empty] | Quality Representative
Calibration Data - As Found
| Certificate No. | [5 empty] | 0
| Cycle 1 | [20 empty] | Unit: |  |  |  | 0
SetPoints |  | Reference | [5 empty] | Gauge |  |  |  | Dev | [5 empty] | %FS | [5 empty] | Result
|  | Asc. |  |  |  | Des. |  | Asc. |  |  | Des. | Asc. |  |  |  | Des. |  | Asc. |  |  | Des.
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
=== As Found Calibration Data End ===
Calibration Data - As Left
| Certificate No. | [5 empty] | 0
| Cycle 1 | [20 empty] | Unit: |  |  |  | 0
SetPoints |  | Reference | [5 empty] | Gauge |  |  |  | Dev | [5 empty] | %FS | [5 empty] | Result
|  | Asc. |  |  |  | Des. |  | Asc. |  |  | Des. | Asc. |  |  |  | Des. |  | Asc. |  |  | Des.
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
=== As Left Calibration Data End ===
STEWARTS-USA, LLC.
6786 Tipperary Houston,
Texas 77061 USA
Phone: 713.643.1022
Fax: 713.643.2855
Toll Free: 800.901.1316
Mail: info@stewartsusa.com
Web: www.STEWARTSUSA.com
As left pressure readings will reflect any repairs and adjustments made.
Note: Environmental conditions during calibraiton are 20°C ± 5°C and less than 65% relative humidity. The collective uncertainty of the measurement standard does not exceed 25% of the acceptable tolerance for each characteristic of the measuring and test equipment being certified.
1. Calibraiton and Measurement Capability Uncertainty (CMC) is the smallest uncertainty of measurement that a laboratory can achive within its scope of accreditation when performing more or less routine calibrations of nearly ideal measurement standards or nearly ideal measuring equipment. CMC's represent expanded uncertainties expressed at approximately the 95% level of confidence, usually using a coverage factor of k=2. The actual measurement uncertainty of specific calibraiton performed by the laboratory may be greater than the CMC due to the behavior of the customer's device and to influences from the circumstances of the specific calibration.
2. In the statement of CMC, L is the numerical value of the nominal length of the device measured in inches.
3. In the statmeent of CMC, percentages are precentages of reading, unless otherwise indicated.
4. Calibration method: Method 001
All instrument calibrations are verified for accuracy before they are shipped. The recommended calibration interval for this instrument is 12 months from the date of verification. Your particular quality assurance requirements may supersede this recommendation.
Note on G61: #VerifierSignature#
Note on AF61: #AuditorSignature#
Note on BB76: #AFD1S# AsFoundData1Start
Note on AX80: #AFD1PS# AsFoundData1PointStart
Note on BB89: #AFD1E# AsFoundData1End
Note on BB97: #ALD1S# AsLeftData1Start
Note on AX101: #ALD1PS# AsLeftData1PointStart
Note on BB110: #ALD1E# AsLeftData1End

## Certificate_AFAL
Certificate No: |  |  |  | 0 | [8 empty] | Certificate of Calibration | [7 empty] | Print Date: |  | 0 |  | 0
PRESSURE GAUGE
| Serial Number | [7 empty] | 0 |  |  |  |  | Calibration Date: | [10 empty] | 0
| Model: | [7 empty] | 0 |  |  |  |  | Recommended Next Cal Date: | [10 empty] | 0
| Range: | [7 empty] | 0 |  |  |  |  | Manufacturer: | [10 empty] | 0
| Resolution: | [7 empty] | 0 |  |  |  |  | Customer: | [10 empty] | 0
| Application Site: | [7 empty] | 0 |  |  |  |  | SUSA PO: | [10 empty] | 0
| Accuracy: | [7 empty] | 0 |  |  |  |  | SBG SO: | [10 empty] | 0
Calibration Results
[5 empty] | Result |  |  |  |  | Max Error |  |  |  |  | Temperature |  |  |  | Humidity |  |  |  |  | Atmospheric pressure
| As Found | [13 empty] | ℃ |  |  |  | %RH
| As Left | [13 empty] | ℃ |  |  |  | %RH
References
Name | [6 empty] | Model |  |  |  | Serial Number |  |  |  | Cetificate No. |  |  |  |  | Due Date |  |  |  |  | Accuracy
0 | [6 empty] | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  | Laboratory Representative | [13 empty] | Quality Representative
Calibration Data - As Found
| Certificate No. | [5 empty] | 0
| Cycle 1 | [20 empty] | Unit: |  |  |  | 0
SetPoints |  | Reference | [5 empty] | Gauge |  |  |  | Dev | [5 empty] | %FS | [5 empty] | Result
|  | Asc. |  |  |  | Des. |  | Asc. |  |  | Des. | Asc. |  |  |  | Des. |  | Asc. |  |  | Des.
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
=== As Found Calibration Data End ===
Calibration Data - As Left
| Certificate No. | [5 empty] | 0
| Cycle 1 | [20 empty] | Unit: |  |  |  | 0
SetPoints |  | Reference | [5 empty] | Gauge |  |  |  | Dev | [5 empty] | %FS | [5 empty] | Result
|  | Asc. |  |  |  | Des. |  | Asc. |  |  | Des. | Asc. |  |  |  | Des. |  | Asc. |  |  | Des.
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
=== As Left Calibration Data End ===
STEWARTS-USA, LLC.
6786 Tipperary Houston,
Texas 77061 USA
Phone: 713.643.1022
Fax: 713.643.2855
Toll Free: 800.901.1316
Mail: info@stewartsusa.com
Web: www.STEWARTSUSA.com
As left pressure readings will reflect any repairs and adjustments made.
Note: Environmental conditions during calibraiton are 20°C ± 5°C and less than 65% relative humidity. The collective uncertainty of the measurement standard does not exceed 25% of the acceptable tolerance for each characteristic of the measuring and test equipment being certified.
1. Calibraiton and Measurement Capability Uncertainty (CMC) is the smallest uncertainty of measurement that a laboratory can achive within its scope of accreditation when performing more or less routine calibrations of nearly ideal measurement standards or nearly ideal measuring equipment. CMC's represent expanded uncertainties expressed at approximately the 95% level of confidence, usually using a coverage factor of k=2. The actual measurement uncertainty of specific calibraiton performed by the laboratory may be greater than the CMC due to the behavior of the customer's device and to influences from the circumstances of the specific calibration.
2. In the statement of CMC, L is the numerical value of the nominal length of the device measured in inches.
3. In the statmeent of CMC, percentages are precentages of reading, unless otherwise indicated.
4. Calibration method: Method 001
All instrument calibrations are verified for accuracy before they are shipped. The recommended calibration interval for this instrument is 12 months from the date of verification. Your particular quality assurance requirements may supersede this recommendation.
Note on G61: #VerifierSignature#
Note on AF61: #AuditorSignature#
Note on BB76: #AFD1S# AsFoundData1Start
Note on AX80: #AFD1PS# AsFoundData1PointStart
Note on BB91: #AFD1E# AsFoundData1End
Note on BB99: #ALD1S# AsLeftData1Start
Note on AX103: #ALD1PS# AsLeftData1PointStart
Note on BB114: #ALD1E# AsLeftData1End

## CalData1 (hidden)
Pressure Data
Indicator Error |  | Hysteresis Error |  | △Tapping Error |  | Result
Max Error |  | Max Error |  | Max Error |  | Cal Result
Max Error(%) |  | Max Error(%) |  | Max Error(%)
As Found
Data Result | No. | SetPoint | Mean Value |  |  | Max Difference |  |  | Max Indication Error |  | Max Indication Error Percent |  | Max Hysteresis Error |  | Max Hysteresis Error Percent |  | Max Tapped Changes |  | Max Tapped Changes Percent
|  |  | Ascending | Descending | Total Mean Value
Cycle1 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Cycle2 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent
Cycle3 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent
Cycle4 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent
Cycle5 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent
Cycle6 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent
Cycle7 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent
Cycle8 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent
Cycle9 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent
Cycle10 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent

## CalData2 (hidden)
Pressure Data
Indicator Error |  | Hysteresis Error |  | △Tapping Error |  | Result
Max Error |  | Max Error |  | Max Error |  | Cal Result
Max Error(%) |  | Max Error(%) |  | Max Error(%)
As Left
Data Result | No. | SetPoint | Mean Value |  |  | Max Difference |  |  | Max Indication Error |  | Max Indication Error Percent |  | Max Hysteresis Error |  | Max Hysteresis Error Percent |  | Max Tapped Changes |  | Max Tapped Changes Percent
|  |  | Ascending | Descending | Total Mean Value
Cycle1 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent
Cycle2 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent
Cycle3 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent
Cycle4 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent
Cycle5 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent
Cycle6 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent
Cycle7 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent
Cycle8 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent
Cycle9 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent
Cycle10 | No. | SetPoint | Reference |  | Indication Before Tapping |  | Indication After Tapping |  | Indicator Error |  |  |  |  | Tapped Changes |  |  |  |  | Hysteresis Error |  |  | TAR | Result
|  |  | Ascending | Descending | Ascending | Descending | Ascending | Descending | Allowable Value | Ascending | Descending | Max Value | Percent | Allowable Value | Ascending | Descending | Max Value | Percent | Tolerance | Max | Percent

## Initial (hidden)
FunctionCode | sheetName | start | end | Enable | value | description
Version |  |  |  |  | 1.0.0 | Version
Fold |  |  |  | 1 |  | Fold
Prefix |  |  |  | 1 | ± | Add Prefix（±）
Sign |  |  |  | 1 | + | Add Sign（+/-）
HiddenArea | BaseInfo | G30 | G30 | 1 |  | Is Show Verifier Name
HiddenArea | BaseInfo | G32 | G32 | 1 |  | Is Show Auditor Name
Filter | CalData1 | B25 | T54 | 1 | --- | Filter
Filter | CalData1 | B60 | Y89 | 1 | --- | Filter
Filter | CalData1 | B95 | Y124 | 1 | --- | Filter
Filter | CalData1 | B130 | Y159 | 1 | --- | Filter
Filter | CalData1 | B165 | Y194 | 1 | --- | Filter
Filter | CalData1 | B200 | Y229 | 1 | --- | Filter
Filter | CalData1 | B235 | Y264 | 1 | --- | Filter
Filter | CalData1 | B270 | Y299 | 1 | --- | Filter
Filter | CalData1 | B305 | Y334 | 1 | --- | Filter
Filter | CalData1 | B340 | Y369 | 1 | --- | Filter
Filter | CalData1 | B375 | Y404 | 1 | --- | Filter
Filter | CalData2 | B25 | T54 | 1 | --- | Filter
Filter | CalData2 | B60 | Y89 | 1 | --- | Filter
Filter | CalData2 | B95 | Y124 | 1 | --- | Filter
Filter | CalData2 | B130 | Y159 | 1 | --- | Filter
Filter | CalData2 | B165 | Y194 | 1 | --- | Filter
Filter | CalData2 | B200 | Y229 | 1 | --- | Filter
Filter | CalData2 | B235 | Y264 | 1 | --- | Filter
Filter | CalData2 | B270 | Y299 | 1 | --- | Filter
Filter | CalData2 | B305 | Y334 | 1 | --- | Filter
Filter | CalData2 | B340 | Y369 | 1 | --- | Filter
Filter | CalData2 | B375 | Y404 | 1 | --- | Filter

## Certificate(Blank)
Certificate No. |  |  |  | 0 | [8 empty] | Certificate of Calibration | [7 empty] | Print Date |  | 0 |  | 0
PRESSURE GAUGE
| Serial Number | [7 empty] | 0 |  |  |  |  | Calibration Date: | [10 empty] | 0
| Model: | [6 empty] | 0 | [5 empty] | Rec Next Calibration Date: | [10 empty] | 0
| Range: | [7 empty] | 0 |  |  |  |  | Manufacturer: | [10 empty] | 0
| Resolution: | [7 empty] | 0 |  |  |  |  | Customer: | [10 empty] | 0
| Application Site: | [7 empty] | 0 |  |  |  |  | SUSA PO: | [10 empty] | 0
| Accuracy: | [7 empty] | 0 |  |  |  |  | SBG SO: | [10 empty] | 0
Calibration Results
[5 empty] | Result |  |  |  |  | Max Error |  |  |  |  | Temperature |  |  |  | Humidity |  |  |  |  | Atmospheric pressure
| As Found | [13 empty] | ℃ |  |  |  | %RH
| As Left | [13 empty] | ℃ |  |  |  | %RH
References
Name | [6 empty] | Model |  |  |  | Serial Number |  |  |  | Cetificate No. |  |  |  |  | Due Date |  |  |  |  | Accuracy
0 | [6 empty] | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  | Laboratory Representative | [13 empty] | Quality Representative
Calibration Data - As Found
| Certificate No. | [5 empty] | 0
| Cycle 1 | [20 empty] | Unit: |  |  |  | 0
SetPoints |  | Reference | [5 empty] | Gauge |  |  |  | Dev | [5 empty] | %FS | [5 empty] | Result
|  | Asc. |  |  |  | Des. |  | Asc. |  |  | Des. | Asc. |  |  |  | Des. |  | Asc. |  |  | Des.
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
=== As Found Calibration Data End ===
Calibration Data - As Left
| Certificate No. | [5 empty] | 0
| Cycle 1 | [20 empty] | Unit: |  |  |  | 0
SetPoints |  | Reference | [5 empty] | Gauge |  |  |  | Dev | [5 empty] | %FS | [5 empty] | Result
|  | Asc. |  |  |  | Des. |  | Asc. |  |  | Des. | Asc. |  |  |  | Des. |  | Asc. |  |  | Des.
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
=== As Left Calibration Data End ===
STEWARTS-USA, LLC.
6786 Tipperary Houston,
Texas 77061 USA
Phone: 713.643.1022
Fax: 713.643.2855
Toll Free: 800.901.1316
Mail: info@stewartsusa.com
Web: www.STEWARTSUSA.com
As left pressure readings will reflect any repairs and adjustments made.
Note: Environmental conditions during calibraiton are 20°C ± 5°C and less than 65% relative humidity. The collective uncertainty of the measurement standard does not exceed 25% of the acceptable tolerance for each characteristic of the measuring and test equipment being certified.
1. Calibraiton and Measurement Capability Uncertainty (CMC) is the smallest uncertainty of measurement that a laboratory can achive within its scope of accreditation when performing more or less routine calibrations of nearly ideal measurement standards or nearly ideal measuring equipment. CMC's represent expanded uncertainties expressed at approximately the 95% level of confidence, usually using a coverage factor of k=2. The actual measurement uncertainty of specific calibraiton performed by the laboratory may be greater than the CMC due to the behavior of the customer's device and to influences from the circumstances of the specific calibration.
2. In the statement of CMC, L is the numerical value of the nominal length of the device measured in inches.
3. In the statmeent of CMC, percentages are precentages of reading, unless otherwise indicated.
4. Calibration method: Method 001
All instrument calibrations are verified for accuracy before they are shipped. The recommended calibration interval for this instrument is 12 months from the date of verification. Your particular quality assurance requirements may supersede this recommendation.
Note on G61: #VerifierSignature#
Note on AF61: #AuditorSignature#
Note on BB76: #AFD1S# AsFoundData1Start
Note on AX80: #AFD1PS# AsFoundData1PointStart
Note on BB88: #AFD1E# AsFoundData1End
Note on BB96: #ALD1S# AsLeftData1Start
Note on AX100: #ALD1PS# AsLeftData1PointStart
Note on BB108: #ALD1E# AsLeftData1End

## Certificate_AFAL(Blank)
Certificate No. |  |  |  | 0 | [8 empty] | Certificate of Calibration | [7 empty] | Print Date |  | 0 |  | 0
PRESSURE GAUGE
| Serial Number | [7 empty] | 0 |  |  |  |  | Calibration Date: | [9 empty] | 0
| Model: | [6 empty] | 0 | [5 empty] | Rec Next Calibration Date: | [9 empty] | 0
| Range: | [7 empty] | 0 |  |  |  |  | Manufacturer: | [9 empty] | 0
| Resolution: | [7 empty] | 0 |  |  |  |  | Customer: | [9 empty] | 0
| Application Site: | [7 empty] | 0 |  |  |  |  | SUSA PO: | [9 empty] | 0
| Accuracy: | [7 empty] | 0 |  |  |  |  | SBG SO: | [9 empty] | 0
Calibration Results
[5 empty] | Result |  |  |  |  | Max Error |  |  |  |  | Temperature |  |  |  | Humidity |  |  |  |  | Atmospheric pressure
| As Found | [13 empty] | ℃ |  |  |  | %RH
| As Left | [13 empty] | ℃ |  |  |  | %RH
References
Name | [6 empty] | Model |  |  |  | Serial Number |  |  |  | Cetificate No. |  |  |  |  | Due Date |  |  |  |  | Accuracy
0 | [6 empty] | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  | Laboratory Representative | [13 empty] | Quality Representative
Calibration Data - As Found
| Certificate No. | [5 empty] | 0
| Cycle 1 | [20 empty] | Unit: |  |  |  | 0
SetPoints |  | Reference | [5 empty] | Gauge |  |  |  | Dev | [5 empty] | %FS | [5 empty] | Result
|  | Asc. |  |  |  | Des. |  | Asc. |  |  | Des. | Asc. |  |  |  | Des. |  | Asc. |  |  | Des.
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
=== As Found Calibration Data End ===
Calibration Data - As Left
| Certificate No. | [5 empty] | 0
| Cycle 1 | [20 empty] | Unit: |  |  |  | 0
SetPoints |  | Reference | [5 empty] | Gauge |  |  |  | Dev | [5 empty] | %FS | [5 empty] | Result
|  | Asc. |  |  |  | Des. |  | Asc. |  |  | Des. | Asc. |  |  |  | Des. |  | Asc. |  |  | Des.
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
=== As Left Calibration Data End ===
STEWARTS-USA, LLC.
6786 Tipperary Houston,
Texas 77061 USA
Phone: 713.643.1022
Fax: 713.643.2855
Toll Free: 800.901.1316
Mail: info@stewartsusa.com
Web: www.STEWARTSUSA.com
As left pressure readings will reflect any repairs and adjustments made.
Note: Environmental conditions during calibraiton are 20°C ± 5°C and less than 65% relative humidity. The collective uncertainty of the measurement standard does not exceed 25% of the acceptable tolerance for each characteristic of the measuring and test equipment being certified.
1. Calibraiton and Measurement Capability Uncertainty (CMC) is the smallest uncertainty of measurement that a laboratory can achive within its scope of accreditation when performing more or less routine calibrations of nearly ideal measurement standards or nearly ideal measuring equipment. CMC's represent expanded uncertainties expressed at approximately the 95% level of confidence, usually using a coverage factor of k=2. The actual measurement uncertainty of specific calibraiton performed by the laboratory may be greater than the CMC due to the behavior of the customer's device and to influences from the circumstances of the specific calibration.
2. In the statement of CMC, L is the numerical value of the nominal length of the device measured in inches.
3. In the statmeent of CMC, percentages are precentages of reading, unless otherwise indicated.
4. Calibration method: Method 001
All instrument calibrations are verified for accuracy before they are shipped. The recommended calibration interval for this instrument is 12 months from the date of verification. Your particular quality assurance requirements may supersede this recommendation.
Note on G61: #VerifierSignature#
Note on AF61: #AuditorSignature#
Note on BB76: #AFD1S# AsFoundData1Start
Note on AX80: #AFD1PS# AsFoundData1PointStart
Note on BB88: #AFD1E# AsFoundData1End
Note on BB96: #ALD1S# AsLeftData1Start
Note on AX100: #ALD1PS# AsLeftData1PointStart
Note on BB108: #ALD1E# AsLeftData1End

## Certificate_Tapped (hidden)
Certificate No. |  |  |  | 0 | [8 empty] | Certificate of Calibration | [7 empty] | Print Date |  | 0 |  | 0
PRESSURE GAUGE
| Serial Number | [7 empty] | 0 |  |  |  |  | Calibration Date: | [9 empty] | 0
| Model: | [6 empty] | 0 | [5 empty] | Expiration Date: | [9 empty] | 0
| Range: | [7 empty] | 0 |  |  |  |  | Manufacturer: | [9 empty] | 0
| Resolution: | [7 empty] | 0 |  |  |  |  | Customer: | [9 empty] | 0
| Application Site: | [7 empty] | 0 |  |  |  |  | PO: | [9 empty] | 0
| Accuracy: | [7 empty] | 0 |  |  |  |  | Packing Slip:
Calibration Results
[5 empty] | Result |  |  |  |  | Max Error |  |  |  |  | Temperature |  |  |  | Humidity |  |  |  |  | Atmospheric pressure
| As Found | [13 empty] | ℃ |  |  |  | %RH
| As Left | [13 empty] | ℃ |  |  |  | %RH
References
Name | [6 empty] | Model |  |  |  | Serial Number |  |  |  | Cetificate No. |  |  |  |  | Due Date |  |  |  |  | Accuracy
0 | [6 empty] | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  | Laboratory Representative | [13 empty] | Quality Representative
Calibration Data - As Found
| Certificate No. | [5 empty] | 0
| Cycle 1 | [20 empty] | Unit: |  |  |  | 0
SetPoints |  | Reference | [5 empty] | Gauge |  |  |  | Dev | [5 empty] | %FS | [5 empty] | Result
|  | Asc. |  |  |  | Des. |  | Asc. |  |  | Des. | Asc. |  |  |  | Des. |  | Asc. |  |  | Des.
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
=== As Found Calibration Data End ===
Calibration Data - As Left
| Certificate No. | [5 empty] | 0
| Cycle 1 | [20 empty] | Unit: |  |  |  | 0
SetPoints |  | Reference | [5 empty] | Gauge |  |  |  | Dev | [5 empty] | %FS | [5 empty] | Result
|  | Asc. |  |  |  | Des. |  | Asc. |  |  | Des. | Asc. |  |  |  | Des. |  | Asc. |  |  | Des.
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
=== As Left Calibration Data End ===
STEWARTS-USA, LLC.
6786 Tipperary Houston,
Texas 77061 USA
Phone: 713.643.1022
Fax: 713.643.2855
Toll Free: 800.901.1316
Mail: info@stewartsusa.com
Web: www.STEWARTSUSA.com
As left pressure readings will reflect any repairs and adjustments made.
Note: Environmental conditions during calibraiton are 20°C ± 5°C and less than 65% relative humidity. The collective uncertainty of the measurement standard does not exceed 25% of the acceptable tolerance for each characteristic of the measuring and test equipment being certified.
1. Calibraiton and Measurement Capability Uncertainty (CMC) is the smallest uncertainty of measurement that a laboratory can achive within its scope of accreditation when performing more or less routine calibrations of nearly ideal measurement standards or nearly ideal measuring equipment. CMC's represent expanded uncertainties expressed at approximately the 95% level of confidence, usually using a coverage factor of k=2. The actual measurement uncertainty of specific calibraiton performed by the laboratory may be greater than the CMC due to the behavior of the customer's device and to influences from the circumstances of the specific calibration.
2. In the statement of CMC, L is the numerical value of the nominal length of the device measured in inches.
3. In the statmeent of CMC, percentages are precentages of reading, unless otherwise indicated.
4. Calibration method: Method 001
All instrument calibrations are verified for accuracy before they are shipped. The recommended calibration interval for this instrument is 12 months from the date of verification. Your particular quality assurance requirements may supersede this recommendation.
Note on G61: #VerifierSignature#
Note on AF61: #AuditorSignature#
Note on BB76: #AFD1S# AsFoundData1Start
Note on AX80: #AFD1PS# AsFoundData1PointStart
Note on BB88: #AFD1E# AsFoundData1End
Note on BB96: #ALD1S# AsLeftData1Start
Note on AX100: #ALD1PS# AsLeftData1PointStart
Note on BB108: #ALD1E# AsLeftData1End

## Certificate_AFAL_Tapped (hidden)
Certificate No. |  |  |  | 0 | [8 empty] | Certificate of Calibration | [7 empty] | Print Date |  | 0 |  | 0
PRESSURE GAUGE
| Serial Number | [7 empty] | 0 |  |  |  |  | Calibration Date: | [9 empty] | 0
| Model: | [6 empty] | 0 | [5 empty] | Expiration Date: | [9 empty] | 0
| Range: | [7 empty] | 0 |  |  |  |  | Manufacturer: | [9 empty] | 0
| Resolution: | [7 empty] | 0 |  |  |  |  | Customer: | [9 empty] | 0
| Application Site: | [7 empty] | 0 |  |  |  |  | PO: | [9 empty] | 0
| Accuracy: | [7 empty] | 0 |  |  |  |  | Packing Slip:
Calibration Results
[5 empty] | Result |  |  |  |  | Max Error |  |  |  |  | Temperature |  |  |  | Humidity |  |  |  |  | Atmospheric pressure
| As Found | [13 empty] | ℃ |  |  |  | %RH
| As Left | [13 empty] | ℃ |  |  |  | %RH
References
Name | [6 empty] | Model |  |  |  | Serial Number |  |  |  | Cetificate No. |  |  |  |  | Due Date |  |  |  |  | Accuracy
0 | [6 empty] | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  | Laboratory Representative | [13 empty] | Quality Representative
Calibration Data - As Found
| Certificate No. | [5 empty] | 0
| Cycle 1 | [20 empty] | Unit: |  |  |  | 0
SetPoints |  | Reference | [5 empty] | Gauge |  |  |  | Dev | [5 empty] | %FS | [5 empty] | Result
|  | Asc. |  |  |  | Des. |  | Asc. |  |  | Des. | Asc. |  |  |  | Des. |  | Asc. |  |  | Des.
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
=== As Found Calibration Data End ===
Calibration Data - As Left
| Certificate No. | [5 empty] | 0
| Cycle 1 | [20 empty] | Unit: |  |  |  | 0
SetPoints |  | Reference | [5 empty] | Gauge |  |  |  | Dev | [5 empty] | %FS | [5 empty] | Result
|  | Asc. |  |  |  | Des. |  | Asc. |  |  | Des. | Asc. |  |  |  | Des. |  | Asc. |  |  | Des.
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
=== As Left Calibration Data End ===
STEWARTS-USA, LLC.
6786 Tipperary Houston,
Texas 77061 USA
Phone: 713.643.1022
Fax: 713.643.2855
Toll Free: 800.901.1316
Mail: info@stewartsusa.com
Web: www.STEWARTSUSA.com
As left pressure readings will reflect any repairs and adjustments made.
Note: Environmental conditions during calibraiton are 20°C ± 5°C and less than 65% relative humidity. The collective uncertainty of the measurement standard does not exceed 25% of the acceptable tolerance for each characteristic of the measuring and test equipment being certified.
1. Calibraiton and Measurement Capability Uncertainty (CMC) is the smallest uncertainty of measurement that a laboratory can achive within its scope of accreditation when performing more or less routine calibrations of nearly ideal measurement standards or nearly ideal measuring equipment. CMC's represent expanded uncertainties expressed at approximately the 95% level of confidence, usually using a coverage factor of k=2. The actual measurement uncertainty of specific calibraiton performed by the laboratory may be greater than the CMC due to the behavior of the customer's device and to influences from the circumstances of the specific calibration.
2. In the statement of CMC, L is the numerical value of the nominal length of the device measured in inches.
3. In the statmeent of CMC, percentages are precentages of reading, unless otherwise indicated.
4. Calibration method: Method 001
All instrument calibrations are verified for accuracy before they are shipped. The recommended calibration interval for this instrument is 12 months from the date of verification. Your particular quality assurance requirements may supersede this recommendation.
Note on G61: #VerifierSignature#
Note on AF61: #AuditorSignature#
Note on BB76: #AFD1S# AsFoundData1Start
Note on AX80: #AFD1PS# AsFoundData1PointStart
Note on BB88: #AFD1E# AsFoundData1End
Note on BB96: #ALD1S# AsLeftData1Start
Note on AX100: #ALD1PS# AsLeftData1PointStart
Note on BB108: #ALD1E# AsLeftData1End

## Certificate_Tapped(Blank) (hidden)
Certificate No. |  |  |  | 0 | [8 empty] | Certificate of Calibration | [7 empty] | Print Date |  | 0 |  | 0
PRESSURE GAUGE
| Serial Number | [7 empty] | 0 |  |  |  |  | Calibration Date: | [9 empty] | 0
| Model: | [6 empty] | 0 | [5 empty] | Expiration Date: | [9 empty] | 0
| Range: | [7 empty] | 0 |  |  |  |  | Manufacturer: | [9 empty] | 0
| Resolution: | [7 empty] | 0 |  |  |  |  | Customer: | [9 empty] | 0
| Application Site: | [7 empty] | 0 |  |  |  |  | PO: | [9 empty] | 0
| Accuracy: | [7 empty] | 0 |  |  |  |  | Packing Slip:
Calibration Results
[5 empty] | Result |  |  |  |  | Max Error |  |  |  |  | Temperature |  |  |  | Humidity |  |  |  |  | Atmospheric pressure
| As Found | [13 empty] | ℃ |  |  |  | %RH
| As Left | [13 empty] | ℃ |  |  |  | %RH
References
Name | [6 empty] | Model |  |  |  | Serial Number |  |  |  | Cetificate No. |  |  |  |  | Due Date |  |  |  |  | Accuracy
0 | [6 empty] | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  | Laboratory Representative | [13 empty] | Quality Representative
Calibration Data - As Found
| Certificate No. | [5 empty] | 0
| Cycle 1 | [20 empty] | Unit: |  |  |  | 0
SetPoints |  | Reference | [5 empty] | Gauge |  |  |  | Dev | [5 empty] | %FS | [5 empty] | Result
|  | Asc. |  |  |  | Des. |  | Asc. |  |  | Des. | Asc. |  |  |  | Des. |  | Asc. |  |  | Des.
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
=== As Found Calibration Data End ===
Calibration Data - As Left
| Certificate No. | [5 empty] | 0
| Cycle 1 | [20 empty] | Unit: |  |  |  | 0
SetPoints |  | Reference | [5 empty] | Gauge |  |  |  | Dev | [5 empty] | %FS | [5 empty] | Result
|  | Asc. |  |  |  | Des. |  | Asc. |  |  | Des. | Asc. |  |  |  | Des. |  | Asc. |  |  | Des.
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
=== As Left Calibration Data End ===
STEWARTS-USA, LLC.
6786 Tipperary Houston,
Texas 77061 USA
Phone: 713.643.1022
Fax: 713.643.2855
Toll Free: 800.901.1316
Mail: info@stewartsusa.com
Web: www.STEWARTSUSA.com
As left pressure readings will reflect any repairs and adjustments made.
Note: Environmental conditions during calibraiton are 20°C ± 5°C and less than 65% relative humidity. The collective uncertainty of the measurement standard does not exceed 25% of the acceptable tolerance for each characteristic of the measuring and test equipment being certified.
1. Calibraiton and Measurement Capability Uncertainty (CMC) is the smallest uncertainty of measurement that a laboratory can achive within its scope of accreditation when performing more or less routine calibrations of nearly ideal measurement standards or nearly ideal measuring equipment. CMC's represent expanded uncertainties expressed at approximately the 95% level of confidence, usually using a coverage factor of k=2. The actual measurement uncertainty of specific calibraiton performed by the laboratory may be greater than the CMC due to the behavior of the customer's device and to influences from the circumstances of the specific calibration.
2. In the statement of CMC, L is the numerical value of the nominal length of the device measured in inches.
3. In the statmeent of CMC, percentages are precentages of reading, unless otherwise indicated.
4. Calibration method: Method 001
All instrument calibrations are verified for accuracy before they are shipped. The recommended calibration interval for this instrument is 12 months from the date of verification. Your particular quality assurance requirements may supersede this recommendation.
Note on G61: #VerifierSignature#
Note on AF61: #AuditorSignature#
Note on BB76: #AFD1S# AsFoundData1Start
Note on AX80: #AFD1PS# AsFoundData1PointStart
Note on BB88: #AFD1E# AsFoundData1End
Note on BB96: #ALD1S# AsLeftData1Start
Note on AX100: #ALD1PS# AsLeftData1PointStart
Note on BB108: #ALD1E# AsLeftData1End

## Certificate_AFAL_Tapped(Blank) (hidden)
Certificate No. |  |  |  | 0 | [8 empty] | Certificate of Calibration | [7 empty] | Print Date |  | 0 |  | 0
PRESSURE GAUGE
| Serial Number | [7 empty] | 0 |  |  |  |  | Calibration Date: | [9 empty] | 0
| Model: | [6 empty] | 0 | [5 empty] | Expiration Date: | [9 empty] | 0
| Range: | [7 empty] | 0 |  |  |  |  | Manufacturer: | [9 empty] | 0
| Resolution: | [7 empty] | 0 |  |  |  |  | Customer: | [9 empty] | 0
| Application Site: | [7 empty] | 0 |  |  |  |  | PO: | [9 empty] | 0
| Accuracy: | [7 empty] | 0 |  |  |  |  | Packing Slip:
Calibration Results
[5 empty] | Result |  |  |  |  | Max Error |  |  |  |  | Temperature |  |  |  | Humidity |  |  |  |  | Atmospheric pressure
| As Found | [13 empty] | ℃ |  |  |  | %RH
| As Left | [13 empty] | ℃ |  |  |  | %RH
References
Name | [6 empty] | Model |  |  |  | Serial Number |  |  |  | Cetificate No. |  |  |  |  | Due Date |  |  |  |  | Accuracy
0 | [6 empty] | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 0
|  |  | Laboratory Representative | [13 empty] | Quality Representative
Calibration Data - As Found
| Certificate No. | [5 empty] | 0
| Cycle 1 | [20 empty] | Unit: |  |  |  | 0
SetPoints |  | Reference | [5 empty] | Gauge |  |  |  | Dev | [5 empty] | %FS | [5 empty] | Result
|  | Asc. |  |  |  | Des. |  | Asc. |  |  | Des. | Asc. |  |  |  | Des. |  | Asc. |  |  | Des.
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
=== As Found Calibration Data End ===
Calibration Data - As Left
| Certificate No. | [5 empty] | 0
| Cycle 1 | [20 empty] | Unit: |  |  |  | 0
SetPoints |  | Reference | [5 empty] | Gauge |  |  |  | Dev | [5 empty] | %FS | [5 empty] | Result
|  | Asc. |  |  |  | Des. |  | Asc. |  |  | Des. | Asc. |  |  |  | Des. |  | Asc. |  |  | Des.
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
0 |  | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 |  |  |  | 0 |  | 0 |  |  |  |  | 0
=== As Left Calibration Data End ===
STEWARTS-USA, LLC.
6786 Tipperary Houston,
Texas 77061 USA
Phone: 713.643.1022
Fax: 713.643.2855
Toll Free: 800.901.1316
Mail: info@stewartsusa.com
Web: www.STEWARTSUSA.com
As left pressure readings will reflect any repairs and adjustments made.
Note: Environmental conditions during calibraiton are 20°C ± 5°C and less than 65% relative humidity. The collective uncertainty of the measurement standard does not exceed 25% of the acceptable tolerance for each characteristic of the measuring and test equipment being certified.
1. Calibraiton and Measurement Capability Uncertainty (CMC) is the smallest uncertainty of measurement that a laboratory can achive within its scope of accreditation when performing more or less routine calibrations of nearly ideal measurement standards or nearly ideal measuring equipment. CMC's represent expanded uncertainties expressed at approximately the 95% level of confidence, usually using a coverage factor of k=2. The actual measurement uncertainty of specific calibraiton performed by the laboratory may be greater than the CMC due to the behavior of the customer's device and to influences from the circumstances of the specific calibration.
2. In the statement of CMC, L is the numerical value of the nominal length of the device measured in inches.
3. In the statmeent of CMC, percentages are precentages of reading, unless otherwise indicated.
4. Calibration method: Method 001
All instrument calibrations are verified for accuracy before they are shipped. The recommended calibration interval for this instrument is 12 months from the date of verification. Your particular quality assurance requirements may supersede this recommendation.
Note on G61: #VerifierSignature#
Note on AF61: #AuditorSignature#
Note on BB76: #AFD1S# AsFoundData1Start
Note on AX80: #AFD1PS# AsFoundData1PointStart
Note on BB88: #AFD1E# AsFoundData1End
Note on BB96: #ALD1S# AsLeftData1Start
Note on AX100: #ALD1PS# AsLeftData1PointStart
Note on BB108: #ALD1E# AsLeftData1End